## 歷年Yearly
09-12 污水下水道系統執行概況 The Conditions of Sanitary Sewer Systems

年底別及區域別 / End of Year & Locality	年底規劃面積 / (公頃) / End of Year Planned Area / (Hectares)	總計 / Grand Total		接管戶數(戶) Houses Connected				建築物污水處理設施設置戶(戶) / Houses of Building Sewage Processing Facilities (Houses)		污水處理率(%)(1) / Percentage of Population Served by Wastewater Treatment Plants				污水處理量 / Total Treated Domestic Wastewater per Year (CMY)	第五期修正後污水處理率(%)(2) / Percentage of Population Served by Wastewater Treatment Plants / after Modified Figures od 5th Stage
				公共污水下水道 / Public		專用污水下水道 / Specific				合計 / Total	公共污水下水道 / Public	專用污水下水道 / Specific	建築物污水處理設 / Building Sewage Processing Facilities		合計	公共污水下水道	專用污水下水道	建築物污水處理設施
		當年 / New	累計 / Accumulated	當年 / New	累計 / Accumulated	當年 / New	累計 / Accumulated	當年 / New	累計 / Accmulated					Total	Public	Specific	Building Sewage Processing Facilities
九十三年 2004	206,602	226,006	1,577,080	94,379	707,478	63,923	573,672	67,704	295,930	27.80	12.47	10.11	5.22	653,842,302	21.96	9.85	7.99	4.12
九十四年 2005	222,267	218,150	1,795,230	91,254	798,732	44,391	618,063	82,505	378,435	31.54	14.03	10.86	6.65	700,943,270	24.60	10.94	8.47	5.19
九十五年 2006	236,065	224,236	2,019,466	92,357	891,089	48,882	666,945	82,997	461,432	35.31	15.58	11.66	8.07	761,765,107	27.28	12.04	9.01	6.23
九十六年 2007	246,797	261,182	2,280,648	112,312	1,003,401	54,278	721,223	94,592	556,024	39.74	17.48	12.57	9.69	873,981,906	30.40	13.37	9.61	7.41
九十七年 2008	249,692	234,171	2,514,819	119,768	1,123,169	47,638	768,861	66,765	622,789	43.67	19.50	13.35	10.81	1,092,903,178	32.86	14.68	10.05	8.14
九十八年 2009	252,343	297,927	2,812,746	182,652	1,305,821	31,444	800,305	83,831	706,620	48.66	22.59	13.85	12.23	954,703,613	36.01	16.72	10.25	9.05
九十九年 2010	255,137	257,185	3,069,931	182,152	1,487,973	26,925	827,230	48,108	754,728	53.02	25.70	14.29	13.03	1,050,075,259	38.70	18.76	10.43	9.51
一○○年 2011	255,271	297,052	3,366,983	192,996	1,680,969	29,227	856,457	74,829	829,557	57.99	28.95	14.75	14.29	1,062,678,592	41.75	20.84	10.62	10.29
一○一年 2012	264,092	304,587	3,671,570	189,969	1,870,938	26,462	882,919	88,156	917,713	62.99	32.10	15.15	15.74	1,074,758,056	44.88	22.87	10.79	11.22
一○二年 2013	268,652	221,243	3,892,813	182,621	2,053,559	-17,942	864,977	56,564	974,277	66.62	35.14	14.80	16.67	1,100,036,478	46.97	24.78	10.44	11.75
資料來源：本部國土管理署。
Source：National Land Management Angency, MOI.
說明：1.污水處理率係指總處理戶數占總戶數當量（按總人口數除以4估計）之比率，大於100％者以100％列示。
2.依據「污水下水道第五期建設計畫（104-109年度）」修正「公共污水下水道用戶接管普及率」， 及「污水處理率」計算公式。修正後之計算方式為「實際服務人口數÷全國總人口數」，其中「實際服務人口數=實際接管戶數×戶量」，
且全國部分以當期全國戶量計算，縣市部分以該縣市戶量計算。
Note:1.Percentage of Population Served by Wastewater Treatment Plants which refers to the ratio of the total houses serviced to the total houses / equivalent, estimated by the total population divided by 4, the figures more than 100% are listed 100%.
2.Modified figures of "Percentage of Population Served by Public Sewerage" and "Percentage of Population Served by Wastewater Treatment / Plants" are calculated according to "5th Stage of the Sewer Construction Plan (2015-2020)".
Modified formula : "served population / total population", and "served population = houses connected x amount of household (separately using "mean size of households" in total and each city (county))".

更新日期：2024/4/30

##  2013
09-12 污水下水道系統執行概況 The Conditions of Sanitary Sewer Systems

年底別及區域別 / End of Year & Locality		年底規劃面積 / (公頃) / End of Year Planned Area / (Hectares)	總計 / Grand Total		接管戶數(戶) Houses Connected				建築物污水處理設施設置戶(戶) / Houses of Building Sewage Processing Facilities (Houses)		污水處理率(%)(1) / Percentage of Population Served by Wastewater Treatment Plants				污水處理量 / Total Treated Domestic Wastewater per Year (CMY)
					公共污水下水道 / Public		專用污水下水道 / Specific				合計 / Total	公共污水下水道 / Public	專用污水下水道 / Specific	建築物污水處理設 / Building Sewage Processing Facilities
			當年 / New	累計 / Accumulated	當年 / New	累計 / Accumulated	當年 / New	累計 / Accumulated	當年 / New	累計 / Accmulated
一○二年 2013		268,652	221,243	3,892,813	182,621	2,053,559	-17,942	864,977	56,564	974,277	66.62	35.14	14.80	16.67	1,100,036,478
新 北 市	New Taipei City	17,818	24,201	1,021,119	62,718	550,230	-41,564	361,486	3,047	109,403	100.00	55.65	36.56	11.06	372,708,435
臺 北 市	Taipei City	12,505	24,543	805,591	24,145	757,410	2	28,706	396	19,475	100.00	100.00	4.27	2.90	326,298,653
臺 中 市	Taichung City	30,553	30,675	308,788	11,681	99,316	11,450	97,944	7,544	111,528	45.72	14.70	14.50	16.51	25,412,350
臺 南 市	Tainan City	40,568	20,787	200,142	12,747	90,495	234	26,060	7,806	83,587	42.51	19.22	5.54	17.75	48,690,636
高 雄 市	Kaohsiung City	41,598	11,804	551,222	23,698	347,352	1,342	52,597	-13,236	151,273	79.32	49.98	7.57	21.77	253,790,780
臺 灣 省	Taiwan Prov.	110,256	108,029	994,214	46,488	197,142	10,594	298,121	50,947	498,951	43.07	8.54	12.91	21.61	70,123,316
宜蘭縣	Yilan County	6,670	6,424	55,656	4,714	32,954	306	7,259	1,404	15,443	48.56	28.75	6.33	13.47	12,381,523
桃園縣	Taoyuan County	18,255	34,029	298,812	3,001	25,861	10,844	144,833	20,184	128,118	58.48	5.06	28.34	25.07	7,610,191
新竹縣	Hsinchu County	3,284	12,017	105,037	4,944	18,471	2,098	33,965	4,975	52,601	79.20	13.93	25.61	39.66	5,894,902
苗栗縣	Miaoli County	12,834	7,160	37,034	5,196	9,092	15	5,706	1,949	22,236	26.19	6.43	4.04	15.73	1,388,625
彰化縣	Changhua County	8,128	15,850	119,664	1,709	2,176	317	13,169	13,824	104,319	36.93	0.67	4.06	32.20	729,493
南投縣	Nantou County	5,746	2,736	33,222	1,834	5,132	1	3,439	901	24,651	25.69	3.97	2.66	19.06	1,178,494
雲林縣	Yunlin County	7,849	2,758	56,720	1,418	10,323	－	4,558	1,340	41,839	32.05	5.83	2.58	23.64	3,807,801
嘉義縣	Chiayi County	10,572	2,517	24,509	1,353	8,732	1	3,689	1,163	12,088	18.52	6.60	2.79	9.14	1,904,254
屏東縣	Pingtung County	11,902	8,057	57,692	6,052	24,562	－	6,605	2,005	26,525	27.08	11.53	3.10	12.45	10,976,299
臺東縣	Taitung County	3,850	292	7,388	280	280	－	247	12	6,861	13.14	0.50	0.44	12.21	15,964
花蓮縣	Hualien County	2,300	7,127	29,135	6,695	19,718	2	1,320	430	8,097	34.90	23.62	1.58	9.70	9,297,280
澎湖縣	Penghu County	899	258	6,575	－	1	－	470	258	6,104	26.20	0.00	1.87	24.32	450
基隆市	Keelung City	7,620	4,212	76,673	8,197	23,313	-3,601	43,346	-384	10,014	81.80	24.87	46.25	10.68	10,828,934
新竹市	Hsinchu City	5,600	3,965	70,930	1,095	16,527	604	26,629	2,266	27,774	66.21	15.43	24.86	25.93	4,109,106
嘉義市	Chiayi City	4,747	627	15,167	－	－	7	2,886	620	12,281	22.40	－	4.26	18.14	－
福 建 省	Fuchien Prov.	15,355	1,204	11,737	1,144	11,614	－	63	60	60	35.33	34.96	0.19	0.18	3,012,308
金門縣	Kinmen County	14,910	1,112	9,539	1,052	9,478	－	1	60	60	31.61	31.41	0.00	0.20	2,882,094
連江縣	Lienchiang County	445	92	2,198	92	2,136	－	62	－	－	72.27	70.23	2.04	－	130,214
資料來源：本部營建署。
Source : Construction and Planning Agency, MOI.
說明：1.污水處理率係指總處理戶數占總戶數當量（按總人口數除以4估計）之比率，大於100％者以100％列示。
Note:1.Percentage of Population Served by Wastewater Treatment Plants which refers to the ratio of the total houses serviced to the total houses / equivalent, estimated by the total population divided by 4, the figures more than 100% are
listed 100%.

##  2012
09-12 污水下水道系統執行概況 The Conditions of Sanitary Sewer Systems

年底別及區域別 / End of Year & Locality		年底規劃面積 / (公頃) / End of Year Planned Area / (Hectares)	總計 / Grand Total		接管戶數(戶) Houses Connected				建築物污水處理設施設置戶(戶) / Houses of Building Sewage Processing Facilities (Houses)		污水處理率(%)(1) / Percentage of Population Served by Wastewater Treatment Plants				污水處理量 / Total Treated Domestic Wastewater per Year (CMY)
					公共污水下水道 / Public		專用污水下水道 / Specific				合計 / Total	公共污水下水道 / Public	專用污水下水道 / Specific	建築物污水處理設 / Building Sewage Processing Facilities
			當年 / New	累計 / Accumulated	當年 / New	累計 / Accumulated	當年 / New	累計 / Accumulated	當年 / New	累計 / Accmulated
一○一年 2012		264,092	304,587	3,671,570	189,969	1,870,938	26,462	882,919	88,156	917,713	62.99	32.10	15.15	15.74	1,074,758,056
新 北 市	New Taipei City	17,818	30,623	996,918	64,316	487,512	-37,345	403,050	3,652	106,356	100.00	49.50	40.93	10.80	363,875,070
臺 北 市	Taipei City	12,505	31,442	781,048	30,822	733,265	1	28,704	619	19,079	100.00	100.00	4.30	2.85	335,443,166
臺 中 市	Taichung City	30,553	26,680	278,113	13,634	87,635	3,205	86,494	9,841	103,984	41.43	13.06	12.89	15.49	22,749,465
臺 南 市	Tainan City	40,568	38,153	179,355	11,511	77,748	720	25,826	25,922	75,781	38.13	16.53	5.49	16.11	47,626,920
高 雄 市	Kaohsiung City	41,598	36,844	539,418	26,295	323,654	2,465	51,255	8,084	164,509	77.65	46.59	7.38	23.68	240,615,488
臺 灣 省	Taiwan Prov.	109,476	139,471	886,185	42,017	150,654	57,416	287,527	40,038	448,004	38.39	6.53	12.46	19.41	61,757,324
宜蘭縣	Yilan County	6,670	6,502	49,232	5,176	28,240	12	6,953	1,314	14,039	42.94	24.63	6.06	12.25	11,286,145
桃園縣	Taoyuan County	18,255	10,457	264,783	1,917	22,860	6,748	133,989	1,792	107,934	52.17	4.50	26.40	21.27	7,334,063
新竹縣	Hsinchu County	3,284	10,676	93,020	4,202	13,527	2,151	31,867	4,323	47,626	71.01	10.33	24.33	36.36	4,774,189
苗栗縣	Miaoli County	12,834	6,067	29,874	3,169	3,896	884	5,691	2,014	20,287	21.19	2.76	4.04	14.39	545,182
彰化縣	Changhua County	8,128	19,941	103,814	178	467	1,254	12,852	18,509	90,495	31.95	0.14	3.95	27.85	236,674
南投縣	Nantou County	5,746	673	30,486	－	3,298	0	3,438	673	23,750	23.44	2.54	2.64	18.26	1,010,340
雲林縣	Yunlin County	7,849	7,043	53,962	3,636	8,905	－	4,558	3,407	40,499	30.36	5.01	2.56	22.78	3,807,801
嘉義縣	Chiayi County	10,572	2,340	21,992	1,231	7,379	328	3,688	781	10,925	16.48	5.53	2.76	8.19	1,220,671
屏東縣	Pingtung County	9,593	8,696	49,635	4,464	18,510	2,459	6,605	1,773	24,520	23.13	8.62	3.08	11.43	8,608,381
臺東縣	Taitung County	3,850	743	7,096	－	－	－	247	743	6,849	12.55	－	0.44	12.11	5,390,115
花蓮縣	Hualien County	3,971	6,346	22,008	6,023	13,023	6	1,318	317	7,667	26.26	15.54	1.57	9.15	9,359,020
澎湖縣	Penghu County	757	277	6,317	－	1	－	470	277	5,846	25.56	－	1.90	23.66	450
基隆市	Keelung City	7,620	49,082	72,461	6,600	15,116	42,414	46,947	68	10,398	76.85	16.03	49.79	11.03	5,063,246
新竹市	Hsinchu City	5,600	9,936	66,965	5,421	15,432	1,160	26,025	3,355	25,508	63.02	14.52	24.49	24.00	3,121,047
嘉義市	Chiayi City	4,747	692	14,540	－	－	0	2,879	692	11,661	21.44	－	4.25	17.20	－
福 建 省	Fuchien Prov.	11,575	1,374	10,533	1,374	10,470	－	63	－	－	33.86	33.66	0.20	－	2,690,623
金門縣	Kinmen County	11,130	1,347	8,427	1,347	8,426	－	1	－	－	29.80	29.80	0.00	－	2,548,156
連江縣	Lienchiang County	445	27	2,106	27	2,044	－	62	－	－	74.48	72.29	2.19	－	142,467
資料來源：本部營建署。
Source : Construction and Planning Agency, MOI.
說明：1.污水處理率係指總處理戶數占總戶數當量（按總人口數除以4估計）之比率，大於100％者以100％列示。
Note:1.Percentage of Population Served by Wastewater Treatment Plants which refers to the ratio of the total houses serviced to the total houses / equivalent, estimated by the total population divided by 4, the figures more than 100% are
listed 100%.

##  2011
09-12 污水下水道系統執行概況 The Conditions of Sanitary Sewer Systems

年底別及區域別 / End of Year & Locality		年底規劃面積 / (公頃) / End of Year Planned Area / (Hectares)	總計 / Grand Total		接管戶數(戶) Houses Connected				建築物污水處理設施設置戶(戶) / Houses of Building Sewage Processing Facilities (Houses)		污水處理率(%)(1) / Percentage of Population Served by Wastewater Treatment Plants				污水處理量 / Total Treated Domestic Wastewater per Year (CMY)
					公共污水下水道 / Public		專用污水下水道 / Specific				合計 / Total	公共污水下水道 / Public	專用污水下水道 / Specific	建築物污水處理設 / Building Sewage Processing Facilities
			當年 / New	累計 / Accumulated	當年 / New	累計 / Accumulated	當年 / New	累計 / Accumulated	當年 / New	累計 / Accmulated
一○○年 2011		255,271	297,052	3,366,983	192,996	1,680,969	29,227	856,457	74,829	829,557	57.99	28.95	14.75	14.29	1,062,678,592
新 北 市	New Taipei City	17,848	78,779	966,295	71,451	423,196	4,144	440,395	3,184	102,704	98.69	43.22	44.98	10.49	352,697,675
臺 北 市	Taipei City	12,505	31,993	749,606	31,237	702,443	3	28,703	753	18,460	100.00	100.00	4.33	2.79	318,959,085
臺 中 市	Taichung City	30,553	22,989	251,433	6,501	74,001	9,811	83,289	6,677	94,143	37.75	11.11	12.50	14.13	21,056,850
臺 南 市	Tainan City	40,568	23,966	141,202	12,020	66,237	435	25,106	11,511	49,859	30.09	14.12	5.35	10.63	44,653,413
高 雄 市	Kaohsiung City	40,090	46,890	502,574	34,657	297,359	739	48,790	11,494	156,425	72.46	42.87	7.03	22.55	260,322,916
臺 灣 省	Taiwan Prov.	102,132	91,810	746,714	36,505	108,637	14,095	230,111	41,210	407,966	32.37	4.71	9.97	17.68	62,628,848
宜蘭縣	Yilan County	6,196	7,395	42,730	5,866	23,064	178	6,941	1,351	12,725	37.23	20.10	6.05	11.09	9,728,455
桃園縣	Taoyuan County	18,255	23,570	254,326	6,244	20,943	8,434	127,241	8,892	106,142	50.53	4.16	25.28	21.09	5,738,090
新竹縣	Hsinchu County	3,136	12,232	82,344	2,944	9,325	2,451	29,716	6,837	43,303	63.63	7.21	22.96	33.46	3,381,793
苗栗縣	Miaoli County	6,417	2,582	23,807	727	727	4	4,807	1,851	18,273	16.94	0.52	3.42	13.01	12,492
彰化縣	Changhua County	7,823	16,275	83,873	－	289	1,696	11,598	14,579	71,986	25.75	0.09	3.56	22.10	155,271
南投縣	Nantou County	5,746	797	29,813	－	3,298	118	3,438	679	23,077	22.81	2.52	2.63	17.66	821,433
雲林縣	Yunlin County	7,849	5,848	46,919	3,922	5,269	1	4,558	1,925	37,092	26.30	2.95	2.56	20.79	3,807,801
嘉義縣	Chiayi County	10,572	1,133	19,652	80	6,148	1	3,360	1,052	10,144	14.61	4.57	2.50	7.54	340,189
屏東縣	Pingtung County	9,593	4,293	40,939	4,000	14,046	－	4,146	293	22,747	18.94	6.50	1.92	10.52	8,067,883
臺東縣	Taitung County	3,850	236	6,353	－	－	－	247	236	6,106	11.13	－	0.43	10.70	15,139,117
花蓮縣	Hualien County	3,971	3,225	15,662	2,743	7,000	82	1,312	400	7,350	18.60	8.31	1.56	8.73	9,328,497
澎湖縣	Penghu County	757	248	6,040	1	1	－	470	247	5,569	24.87	－	1.94	22.93	450
基隆市	Keelung City	7,620	3,740	23,379	3,140	8,516	246	4,533	354	10,330	24.61	8.97	4.77	10.88	4,543,237
新竹市	Hsinchu City	5,600	9,601	57,029	6,838	10,011	879	24,865	1,884	22,153	54.31	9.53	23.68	21.10	1,564,140
嘉義市	Chiayi City	4,747	635	13,848	－	－	5	2,879	630	10,969	20.40	－	4.24	16.16	－
福 建 省	Fuchien Prov.	11,575	625	9,159	625	9,096	－	63	－	－	32.14	31.92	0.22	－	2,359,805
金門縣	Kinmen County	11,130	605	7,080	605	7,079	－	1	－	－	27.26	27.26	0.00	－	2,214,187
連江縣	Lienchiang County	445	20	2,079	20	2,017	－	62	－	－	82.29	79.83	2.45	－	145,618
資料來源：本部營建署。
Source : Construction and Planning Agency, MOI.
說明：1.污水處理率係指總處理戶數占總戶數當量（按總人口數除以4估計）之比率，大於100％者以100％列示。
Note:1.Percentage of Population Served by Wastewater Treatment Plants which refers to the ratio of the total houses serviced to the total houses / equivalent, estimated by the total population divided by 4, the figures more than 100% are
listed 100%.

##  2010
09-12 污水下水道系統執行概況 The Conditions of Sanitary Sewer Systems

年底別及區域別 / End of Year & Locality		年底規劃面積 / (公頃) / End of Year Planned Area / (Hectares)	總計 / Grand Total		接管戶數(戶) Houses Connected				建築物污水處理設施設置戶(戶) / Houses of Building Sewage Processing Facilities (Houses)		污水處理率(%)(1) / Percentage of Population Served by Wastewater Treatment Plants				污水處理量 / Total Treated Domestic Wastewater per Year (CMY)
					公共污水下水道 / Public		專用污水下水道 / Specific				合計 / Total	公共污水下水道 / Public	專用污水下水道 / Specific	建築物污水處理設 / Building Sewage Processing Facilities
			當年 / New	累計 / Accumulated	當年 / New	累計 / Accumulated	當年 / New	累計 / Accumulated	當年 / New	累計 / Accmulated
九十九年 2010		255,137	257,185	3,069,931	182,152	1,487,973	26,925	827,230	48,108	754,728	53.02	25.70	14.29	13.03	1,050,075,259
臺 灣 省	Taiwan Prov.	214,047	191,296	1,989,106	121,854	575,401	26,444	764,627	42,998	649,078	42.08	12.17	16.18	13.73	435,563,998
臺北縣	Taipei County	17,848	83,734	887,516	69,962	351,745	8,713	436,251	5,059	99,520	91.09	36.10	44.77	10.21	323,943,340
宜蘭縣	Yilan County	6,196	9,311	35,335	7,685	17,198	460	6,763	1,166	11,374	30.69	14.94	5.87	9.88	6,973,623
桃園縣	Taoyuan County	18,255	9,876	230,756	1,005	14,699	3,564	118,807	5,307	97,250	46.10	2.94	23.74	19.43	5,768,522
新竹縣	Hsinchu County	3,036	14,766	70,112	5,730	6,381	1,799	27,265	7,237	36,466	54.67	4.98	21.26	28.43	2,364,672
苗栗縣	Miaoli County	6,418	1,584	21,225	－	－	1	4,803	1,583	16,422	15.13	－	3.42	11.71	－
臺中縣	Taichung County	18,439	5,212	75,524	2,576	5,775	－	20,450	2,636	49,299	19.29	1.47	5.22	12.59	1,309,969
彰化縣	Changhua County	7,823	5,695	67,598	79	289	3,924	9,902	1,692	57,407	20.68	0.09	3.03	17.57	132,130
南投縣	Nantou County	5,746	572	29,016	11	3,298	1	3,320	560	22,398	22.04	2.51	2.52	17.02	992,236
雲林縣	Yunlin County	7,849	3,423	41,071	665	1,347	210	4,557	2,548	35,167	22.89	0.75	2.54	19.60	－
嘉義縣	Chiayi County	10,572	734	18,519	102	6,068	0	3,359	632	9,092	13.64	4.47	2.47	6.69	249,339
臺南縣	Tainan County	22,475	1,369	31,565	0	1,884	2	7,913	1,367	21,768	11.46	0.68	2.87	7.90	464,302
高雄縣	Kaohsiung County	23,045	6,294	101,006	3,700	29,807	610	14,211	1,984	56,988	32.49	9.59	4.57	18.33	11,077,932
屏東縣	Pingtung County	9,593	6,677	36,646	4,300	10,046	0	4,146	2,377	22,454	16.78	4.60	1.90	10.28	6,430,967
臺東縣	Taitung County	3,850	388	6,117	－	－	0	247	388	5,870	10.61	－	0.43	10.18	－
花蓮縣	Hualien County	3,971	4,171	12,437	3,735	4,257	3	1,230	433	6,950	14.68	5.03	1.45	8.21	8,042,410
澎湖縣	Penghu County	757	277	5,792	－	－	1	470	276	5,322	23.90	－	1.94	21.96	－
基隆市	Keelung City	7,620	933	19,639	606	5,376	124	4,287	203	9,976	20.45	5.60	4.46	10.39	4,045,347
新竹市	Hsinchu City	5,600	6,151	47,428	3,173	3,173	1,201	23,986	1,777	20,269	45.68	3.06	23.10	19.52	499
臺中市	Taichung City	12,114	16,432	152,920	7,675	61,725	5,072	53,028	3,685	38,167	56.52	22.81	19.60	14.11	19,345,000
嘉義市	Chiayi City	4,747	824	13,213	－	－	5	2,874	819	10,339	19.40	－	4.22	15.18	－
臺南市	Tainan City	18,093	12,873	85,671	10,850	52,333	754	16,758	1,269	16,580	44.37	27.11	8.68	8.59	44,423,710
臺 北 市	Taipei City	12,505	41,663	717,613	40,902	671,206	163	28,700	598	17,707	109.61	102.52	4.38	2.70	320,454,632
高 雄 市	Kaohsiung City	17,010	23,410	354,678	18,580	232,895	318	33,840	4,512	87,943	92.73	60.89	8.85	22.99	292,045,358
福 建 省	Fuchien Prov.	11,575	816	8,534	816	8,471	－	63	－	－	31.81	31.58	0.23	－	2,011,271
金門縣	Kinmen County	11,130	603	6,475	603	6,474	－	1	－	－	26.60	26.60	0.00	－	1,849,844
連江縣	Lienchiang County	445	213	2,059	213	1,997	－	62	－	－	82.82	80.33	2.49	－	161,427
資料來源：本部營建署。
Source : Construction and Planning Agency, MOI.
說明：1.污水處理率係指總處理戶數占總戶數當量（按總人口數除以4估計）之比率，大於100％者以100％列示。
Note:1.Percentage of Population Served by Wastewater Treatment Plants which refers to the ratio of the total houses serviced to the total houses / equivalent, estimated by the total population divided by 4, the figures more than 100% are
listed 100%.

##  2009
09-12 污水下水道系統執行概況 The Conditions of Sanitary Sewer Systems

年底別及區域別 / End of Year & Locality		年底規劃面積 / (公頃) / End of Year Planned Area / (Hectares)	總計 / Grand Total		接管戶數(戶) Houses Connected				建築物污水處理設施設置戶(戶) / Houses of Building Sewage Processing Facilities (Houses)		污水處理率(%)(1) / Percentage of Population Served by Wastewater Treatment Plants				污水處理量 / Total Treated Domestic Wastewater per Year (CMY)
					公共污水下水道 / Public		專用污水下水道 / Specific				合計 / Total	公共污水下水道 / Public	專用污水下水道 / Specific	建築物污水處理設 / Building Sewage Processing Facilities
			當年 / New	累計 / Accumulated	當年 / New	累計 / Accumulated	當年 / New	累計 / Accumulated	當年 / New	累計 / Accmulated
九十八年 2009		252,343	297,927	2,812,746	182,652	1,305,821	31,444	800,305	83,831	706,620	48.66	22.59	13.85	12.23	954,703,613
臺 灣 省	Taiwan Prov.	211,253	247,834	1,797,810	139,223	453,547	29,697	738,183	78,914	606,080	38.09	9.61	15.64	12.84	385,369,799
臺北縣	Taipei County	17,848	109,056	803,782	88,125	281,783	13,491	427,538	7,440	94,461	83.00	29.10	44.15	9.75	293,380,430
宜蘭縣	Yilan County	6,196	9,321	26,024	8,363	9,513	233	6,303	725	10,208	22.55	8.24	5.46	8.85	6,174,489
桃園縣	Taoyuan County	16,505	14,137	220,880	651	13,694	4,229	115,243	9,257	91,943	44.65	2.77	23.30	18.59	5,232,694
新竹縣	Hsinchu County	3,136	3,876	55,346	651	651	842	25,466	2,383	29,229	43.33	0.51	19.94	22.89	349,236
苗栗縣	Miaoli County	4,788	2,036	19,641	－	－	175	4,802	1,861	14,839	13.99	－	3.42	10.57	－
臺中縣	Taichung County	18,439	1,966	70,312	－	3,199	－	20,450	1,966	46,663	18.00	0.82	5.24	11.95	1,148,680
彰化縣	Changhua County	7,823	41,218	61,903	210	210	626	5,978	40,382	55,715	18.87	0.06	1.82	16.98	－
南投縣	Nantou County	5,746	425	28,444	－	3,287	4	3,319	421	21,838	21.43	2.48	2.50	16.46	1,011,567
雲林縣	Yunlin County	7,849	4,269	37,648	682	682	－	4,347	3,587	32,619	20.83	0.38	2.41	18.05	－
嘉義縣	Chiayi County	10,572	967	17,785	170	5,966	9	3,359	788	8,460	12.99	4.36	2.45	6.18	190,401
臺南縣	Tainan County	22,475	1,491	30,196	178	1,884	6	7,911	1,307	20,401	10.94	0.68	2.87	7.39	455,981
高雄縣	Kaohsiung County	23,045	8,979	94,712	7,046	26,107	861	13,601	1,072	55,004	30.48	8.40	4.38	17.70	8,181,654
屏東縣	Pingtung County	9,593	3,399	29,969	2,494	5,746	48	4,146	857	20,077	13.58	2.60	1.88	9.10	5,632,844
臺東縣	Taitung County	3,850	280	5,729	－	－	1	247	279	5,482	9.86	－	0.42	9.43	－
花蓮縣	Hualien County	3,971	764	8,266	522	522	23	1,227	219	6,517	9.70	0.61	1.44	7.65	－
澎湖縣	Penghu County	757	276	5,515	－	－	－	469	276	5,046	22.93	－	1.95	20.98	－
基隆市	Keelung City	7,620	1,816	18,706	53	4,770	937	4,163	826	9,773	19.27	4.91	4.29	10.07	4,116,823
新竹市	Hsinchu City	5,600	4,579	41,277	－	－	3,155	22,785	1,424	18,492	40.11	－	22.14	17.97	－
臺中市	Taichung City	12,600	15,385	136,488	7,907	54,050	4,719	47,956	2,759	34,482	50.85	20.14	17.87	12.85	19,345,000
嘉義市	Chiayi City	4,747	556	12,389	－	－	134	2,869	422	9,520	18.10	－	4.19	13.90	－
臺南市	Tainan City	18,093	23,038	72,798	22,171	41,483	204	16,004	663	15,311	37.77	21.52	8.30	7.94	40,150,000
臺 北 市	Taipei City	12,505	34,635	675,950	33,300	630,304	216	28,537	1,119	17,109	103.70	96.69	4.38	2.62	280,749,472
高 雄 市	Kaohsiung City	17,010	14,695	331,268	9,366	214,315	1,531	33,522	3,798	83,431	86.72	56.11	8.78	21.84	286,693,627
福 建 省	Fuchien Prov.	11,575	763	7,718	763	7,655	－	63	－	－	29.76	29.52	0.24	－	1,890,715
金門縣	Kinmen County	11,130	593	5,872	593	5,871	－	1	－	－	25.04	25.04	0.00	－	1,757,264
連江縣	Lienchiang County	445	170	1,846	170	1,784	－	62	－	－	74.44	71.94	2.50	－	133,451
資料來源：本部營建署。
Source : Construction and Planning Agency, MOI.
說明：1.污水處理率係指總處理戶數占總戶數當量（按總人口數除以4估計）之比率，大於100％者以100％列示。
Note:1.Percentage of Population Served by Wastewater Treatment Plants which refers to the ratio of the total houses serviced to the total houses / equivalent, estimated by the total population divided by 4, the figures more than 100% are
listed 100%.

##  2008
09-12 污水下水道系統執行概況 The Conditions of Sanitary Sewer Systems

年底別及區域別 / End of Year & Locality		年底規劃面積 / (公頃) / End of Year Planned Area / (Hectares)	總計 / Grand Total		接管戶數(戶) Houses Connected				建築物污水處理設施設置戶(戶) / Houses of Building Sewage Processing Facilities (Houses)		污水處理率(%)(1) / Percentage of Population Served by Wastewater Treatment Plants				污水處理量 / Total Treated Domestic Wastewater per Year (CMY)
					公共污水下水道 / Public		專用污水下水道 / Specific				合計 / Total	公共污水下水道 / Public	專用污水下水道 / Specific	建築物污水處理設 / Building Sewage Processing Facilities
			當年 / New	累計 / Accumulated	當年 / New	累計 / Accumulated	當年 / New	累計 / Accumulated	當年 / New	累計 / Accmulated
九十七年 2008		249,692	234,171	2,514,819	119,768	1,123,169	47,638	768,861	66,765	622,789	43.67	19.50	13.35	10.81	1,092,903,178
臺 灣 省	Taiwan Prov.	208,617	167,238	1,549,976	64,076	314,324	45,309	708,486	57,853	527,166	32.99	6.69	15.08	11.22	336,705,923
臺北縣	Taipei County	17,848	80,225	694,726	50,021	193,658	23,480	414,047	6,724	87,021	72.49	20.21	43.20	9.08	251,244,100
宜蘭縣	Yilan County	6,196	3,808	16,703	1,150	1,150	730	6,070	1,928	9,483	14.50	1.00	5.27	8.23	3,542,758
桃園縣	Taoyuan County	19,412	22,910	206,743	976	13,043	6,398	111,014	15,536	82,686	42.22	2.66	22.67	16.89	5,451,101
新竹縣	Hsinchu County	3,136	6,340	51,470	－	－	3,028	24,624	3,312	26,846	40.91	－	19.57	21.34	－
苗栗縣	Miaoli County	4,788	2,619	17,605	－	－	467	4,627	2,152	12,978	12.57	－	3.30	9.26	－
臺中縣	Taichung County	17,150	3,424	68,346	－	3,199	－	20,450	3,424	44,697	17.55	0.82	5.25	11.48	1,123,688
彰化縣	Changhua County	7,823	823	20,685	－	－	－	5,352	823	15,333	6.30	－	1.63	4.67	－
南投縣	Nantou County	4,828	798	28,019	－	3,287	1	3,315	797	21,417	21.08	2.47	2.49	16.11	1,195,955
雲林縣	Yunlin County	7,694	5,824	33,379	－	－	1,253	4,347	4,571	29,032	18.45	－	2.40	16.05	－
嘉義縣	Chiayi County	9,795	632	16,818	179	5,796	5	3,350	448	7,672	12.26	4.23	2.44	5.59	237,341
臺南縣	Tainan County	22,475	3,591	28,705	1,450	1,706	8	7,905	2,133	19,094	10.40	0.62	2.86	6.91	429,349
高雄縣	Kaohsiung County	22,044	8,622	85,733	2,913	19,061	167	12,740	5,542	53,932	27.58	6.13	4.10	17.35	5,680,365
屏東縣	Pingtung County	9,593	2,232	26,570	978	3,252	－	4,098	1,254	19,220	12.01	1.47	1.85	8.69	4,235,534
臺東縣	Taitung County	3,850	375	5,449	－	－	－	246	375	5,203	9.40	－	0.42	8.98	－
花蓮縣	Hualien County	6,310	313	7,502	－	－	8	1,204	305	6,298	8.79	－	1.41	7.38	－
澎湖縣	Penghu County	757	286	5,239	－	－	3	469	283	4,770	22.46	－	2.01	20.45	－
基隆市	Keelung City	3,878	1,725	16,890	－	4,717	729	3,226	996	8,947	17.37	4.85	3.32	9.20	4,070,732
新竹市	Hsinchu City	5,600	5,026	36,698	－	－	3,395	19,630	1,631	17,068	36.21	－	19.37	16.84	－
臺中市	Taichung City	12,600	13,969	121,103	5,700	46,143	4,392	43,237	3,877	31,723	45.44	17.31	16.22	11.90	19,345,000
嘉義市	Chiayi City	4,747	345	11,833	－	－	2	2,735	343	9,098	17.29	－	4.00	13.29	－
臺南市	Tainan City	18,093	3,351	49,760	709	19,312	1,243	15,800	1,399	14,648	25.90	10.05	8.22	7.62	40,150,000
臺 北 市	Taipei City	12,505	42,775	641,315	40,010	597,004	1,172	28,321	1,593	15,990	97.80	91.04	4.32	2.44	451,986,614
高 雄 市	Kaohsiung City	17,010	23,317	316,573	14,841	204,949	1,157	31,991	7,319	79,633	83.00	53.73	8.39	20.88	302,706,260
福 建 省	Fuchien Prov.	11,560	841	6,955	841	6,892	－	63	－	－	29.49	29.23	0.27	－	1,504,381
金門縣	Kinmen County	11,130	592	5,279	592	5,278	－	1	－	－	24.97	24.96	0.00	－	1,479,537
連江縣	Lienchiang County	430	249	1,676	249	1,614	－	62	－	－	68.72	66.18	2.54	－	24,844
資料來源：本部營建署。
Source : Construction and Planning Agency, MOI.
說明：1.污水處理率係指總處理戶數占總戶數當量（按總人口數除以4估計）之比率，大於100％者以100％列示。
Note:1.Percentage of Population Served by Wastewater Treatment Plants which refers to the ratio of the total houses serviced to the total houses / equivalent, estimated by the total population divided by 4, the figures more than 100% are
listed 100%.

##  2007
09-12 污水下水道系統執行概況 The Conditions of Sanitary Sewer Systems

年底別及區域別 / End of Year & Locality		年底規劃面積 / (公頃) / End of Year Planned Area / (Hectares)	總計 / Grand Total		接管戶數(戶) Houses Connected				建築物污水處理設施設置戶(戶) / Houses of Building Sewage Processing Facilities (Houses)		污水處理率(%)(1) / Percentage of Population Served by Wastewater Treatment Plants				污水處理量 / Total Treated Domestic Wastewater per Year (CMY)
					公共污水下水道 / Public		專用污水下水道 / Specific				合計 / Total	公共污水下水道 / Public	專用污水下水道 / Specific	建築物污水處理設 / Building Sewage Processing Facilities
			當年 / New	累計 / Accumulated	當年 / New	累計 / Accumulated	當年 / New	累計 / Accumulated	當年 / New	累計 / Accmulated
九十六年 2007		246,797	261,182	2,280,648	112,312	1,003,401	54,278	721,223	94,592	556,024	39.74	17.48	12.57	9.69	873,981,906
臺 灣 省	Taiwan Prov.	206,099	194,352	1,382,738	59,493	250,248	53,138	663,177	81,721	469,313	29.55	5.35	14.17	10.03	307,651,926
臺北縣	Taipei County	17,848	84,077	614,501	46,073	143,637	30,146	390,567	7,858	80,297	64.72	15.13	41.13	8.46	224,292,865
宜蘭縣	Yilan County	5,942	1,959	12,895	－	－	359	5,340	1,600	7,555	11.20	－	4.64	6.56	4,706,675
桃園縣	Taoyuan County	19,412	33,119	183,833	1,782	12,067	9,718	104,616	21,619	67,150	38.00	2.49	21.63	13.88	5,357,357
新竹縣	Hsinchu County	2,763	5,678	45,130	－	－	1,556	21,596	4,122	23,534	36.41	－	17.42	18.99	－
苗栗縣	Miaoli County	4,788	3,285	14,986	－	－	536	4,160	2,749	10,826	10.70	－	2.97	7.73	－
臺中縣	Taichung County	17,150	4,188	64,922	146	3,199	－	20,450	4,042	41,273	16.74	0.83	5.27	10.64	979,362
彰化縣	Changhua County	7,656	7,017	19,862	－	－	7	5,352	7,010	14,510	6.04	－	1.63	4.42	－
南投縣	Nantou County	4,828	1,027	27,221	－	3,287	4	3,314	1,023	20,620	20.40	2.46	2.48	15.45	1,179,473
雲林縣	Yunlin County	7,694	3,076	27,555	－	－	6	3,094	3,070	24,461	15.19	－	1.71	13.48	－
嘉義縣	Chiayi County	9,795	1,034	16,186	549	5,617	3	3,345	482	7,224	11.74	4.08	2.43	5.24	491,750
臺南縣	Tainan County	22,786	3,670	25,114	256	256	7	7,897	3,407	16,961	9.09	0.09	2.86	6.14	232,007
高雄縣	Kaohsiung County	21,751	9,876	77,111	2,227	16,148	927	12,573	6,722	48,390	24.79	5.19	4.04	15.56	4,887,527
屏東縣	Pingtung County	7,871	2,941	24,338	2,274	2,274	-1,049	4,098	1,716	17,966	10.94	1.02	1.84	8.08	4,667,538
臺東縣	Taitung County	3,830	508	5,074	－	－	－	246	508	4,828	8.69	－	0.42	8.27	－
花蓮縣	Hualien County	6,310	1,760	7,189	－	－	44	1,196	1,716	5,993	8.38	－	1.39	6.98	－
澎湖縣	Penghu County	757	328	4,953	－	－	3	466	325	4,487	21.44	－	2.02	19.43	－
基隆市	Keelung City	3,878	1,205	15,165	－	4,717	－	2,497	1,205	7,951	15.54	4.83	2.56	8.15	1,362,372
新竹市	Hsinchu City	5,600	5,739	31,672	－	－	3,857	16,235	1,882	15,437	31.75	－	16.27	15.47	－
臺中市	Taichung City	12,600	18,863	107,134	5,029	40,443	6,490	38,845	7,344	27,846	40.58	15.32	14.72	10.55	19,345,000
嘉義市	Chiayi City	4,747	561	11,488	－	－	3	2,733	558	8,755	16.83	－	4.00	12.82	－
臺南市	Tainan City	18,093	4,441	46,409	1,157	18,603	521	14,557	2,763	13,249	24.28	9.73	7.61	6.93	40,150,000
臺 北 市	Taipei City	12,505	34,430	598,540	32,513	556,994	-960	27,149	2,877	14,397	91.06	84.74	4.13	2.19	272,384,258
高 雄 市	Kaohsiung City	17,010	31,471	293,256	19,378	190,108	2,099	30,834	9,994	72,314	77.14	50.01	8.11	19.02	292,421,650
福 建 省	Fuchien Prov.	11,183	929	6,114	928	6,051	1	63	－	－	26.73	26.45	0.28	－	1,524,072
金門縣	Kinmen County	11,130	654	4,687	653	4,686	1	1	－	－	22.99	22.99	0.00	－	1,490,433
連江縣	Lienchiang County	53	275	1,427	275	1,365	－	62	－	－	57.39	54.90	2.49	－	33,639
資料來源：本部營建署。
Source : Construction and Planning Agency, MOI.
說明：1.污水處理率係指總處理戶數占總戶數當量（按總人口數除以4估計）之比率，大於100％者以100％列示。
Note:1.Percentage of Population Served by Wastewater Treatment Plants which refers to the ratio of the total houses serviced to the total houses / equivalent, estimated by the total population divided by 4, the figures more than 100% are
listed 100%.

##  2006
09-12 污水下水道系統執行概況 The Conditions of Sanitary Sewer Systems

年底別及區域別 / End of Year & Locality		年底規劃面積 / (公頃) / End of Year Planned Area / (Hectares)	總計 / Grand Total		接管戶數(戶) Houses Connected				建築物污水處理設施設置戶(戶) / Houses of Building Sewage Processing Facilities (Houses)		污水處理率(%)(1) / Percentage of Population Served by Wastewater Treatment Plants				污水處理量 / Total Treated Domestic Wastewater per Year (CMY)
					公共污水下水道 / Public		專用污水下水道 / Specific				合計 / Total	公共污水下水道 / Public	專用污水下水道 / Specific	建築物污水處理設 / Building Sewage Processing Facilities
			當年 / New	累計 / Accumulated	當年 / New	累計 / Accumulated	當年 / New	累計 / Accumulated	當年 / New	累計 / Accmulated
九十五年 2006		236,065	224,236	2,019,466	92,357	891,089	48,882	666,945	82,997	461,432	35.31	15.58	11.66	8.07	761,765,107
臺 灣 省	Taiwan Prov.	195,367	154,915	1,188,386	47,350	190,755	42,133	610,039	65,432	387,592	25.50	4.09	13.09	8.32	247,198,258
臺北縣	Taipei County	17,848	54,791	530,424	29,976	97,564	18,902	360,421	5,913	72,439	56.32	10.36	38.27	7.69	193,604,760
宜蘭縣	Yilan County	5,641	2,708	10,936	－	－	317	4,981	2,391	5,955	9.50	－	4.33	5.17	3,991,640
桃園縣	Taoyuan County	19,412	37,523	150,714	1,496	10,285	12,157	94,898	23,870	45,531	31.54	2.15	19.86	9.53	4,303,872
新竹縣	Hsinchu County	2,763	2,009	39,452	－	－	925	20,040	1,084	19,412	32.36	－	16.44	15.92	－
苗栗縣	Miaoli County	4,788	4,062	11,701	－	－	492	3,624	3,570	8,077	8.36	－	2.59	5.77	－
臺中縣	Taichung County	17,150	4,813	60,734	－	3,053	297	20,450	4,516	37,231	15.74	0.79	5.30	9.65	1,313,229
彰化縣	Changhua County	7,433	1,274	12,845	－	－	254	5,345	1,020	7,500	3.91	－	1.63	2.28	－
南投縣	Nantou County	4,431	1,185	26,194	－	3,287	1	3,310	1,184	19,597	19.58	2.46	2.47	14.65	986,073
雲林縣	Yunlin County	7,649	2,683	24,479	－	－	6	3,088	2,677	21,391	13.44	－	1.70	11.75	－
嘉義縣	Chiayi County	9,795	2,089	15,152	1,522	5,068	2	3,342	565	6,742	10.94	3.66	2.41	4.87	492,750
臺南縣	Tainan County	19,601	2,845	21,444	－	－	8	7,890	2,837	13,554	7.75	－	2.85	4.90	258,843
高雄縣	Kaohsiung County	18,761	3,598	67,235	2,632	13,921	801	11,646	165	41,668	21.59	4.47	3.74	13.38	3,315,535
屏東縣	Pingtung County	7,871	2,143	21,397	－	－	2	5,147	2,141	16,250	9.58	－	2.30	7.27	－
臺東縣	Taitung County	3,830	480	4,566	－	－	－	246	480	4,320	7.74	－	0.42	7.32	－
花蓮縣	Hualien County	6,310	245	5,429	－	－	17	1,152	228	4,277	6.29	－	1.33	4.95	－
澎湖縣	Penghu County	757	375	4,625	－	－	3	463	372	4,162	20.16	－	2.02	18.14	－
基隆市	Keelung City	－	887	13,960	－	4,717	－	2,497	887	6,746	14.29	4.83	2.56	6.91	2,299,572
新竹市	Hsinchu City	5,600	3,537	25,933	－	－	1,036	12,378	2,501	13,555	26.28	－	12.54	13.74	－
臺中市	Taichung City	12,600	22,523	88,271	10,198	35,414	6,238	32,355	6,087	20,502	33.81	13.56	12.39	7.85	18,250,000
嘉義市	Chiayi City	5,562	920	10,927	－	－	1	2,730	919	8,197	16.05	－	4.01	12.04	－
臺南市	Tainan City	17,565	4,225	41,968	1,526	17,446	674	14,036	2,025	10,486	22.09	9.18	7.39	5.52	18,381,984
臺 北 市	Taipei City	12,505	29,132	564,110	25,798	524,481	1,224	28,109	2,110	11,520	85.72	79.70	4.27	1.75	224,794,133
高 雄 市	Kaohsiung City	17,010	39,950	261,785	18,970	170,730	5,525	28,735	15,455	62,320	69.13	45.09	7.59	16.46	288,434,530
福 建 省	Fuchien Prov.	11,183	239	5,185	239	5,123	－	62	－	－	24.04	23.75	0.29	－	1,338,186
金門縣	Kinmen County	11,130	239	4,033	239	4,033	－	－	－	－	21.09	21.09	－	－	1,304,547
連江縣	Lienchiang County	53	－	1,152	－	1,090	－	62	－	－	47.09	44.55	2.53	－	33,639
資料來源：本部營建署。
Source : Construction and Planning Agency, MOI.
說明：1.污水處理率係指總處理戶數占總戶數當量（按總人口數除以4估計）之比率，大於100％者以100％列示。
Note:1.Percentage of Population Served by Wastewater Treatment Plants which refers to the ratio of the total houses serviced to the total houses / equivalent, estimated by the total population divided by 4, the figures more than 100% are
listed 100%.

##  2005
09-12 污水下水道系統執行概況 The Conditions of Sanitary Sewer Systems

年底別及區域別 / End of Year & Locality		年底規劃面積 / (公頃) / End of Year Planned Area / (Hectares)	總計 / Grand Total		接管戶數(戶) Houses Connected				建築物污水處理設施設置戶(戶) / Houses of Building Sewage Processing Facilities (Houses)		污水處理率(%)(1) / Percentage of Population Served by Wastewater Treatment Plants				污水處理量 / Total Treated Domestic Wastewater per Year (CMY)
					公共污水下水道 / Public		專用污水下水道 / Specific				合計 / Total	公共污水下水道 / Public	專用污水下水道 / Specific	建築物污水處理設 / Building Sewage Processing Facilities
			當年 / New	累計 / Accumulated	當年 / New	累計 / Accumulated	當年 / New	累計 / Accumulated	當年 / New	累計 / Accmulated
九十四年 2005		222,267	218,150	1,795,230	91,254	798,732	44,391	618,063	82,505	378,435	31.54	14.03	10.86	6.65	700,943,270
臺 灣 省	Taiwan Prov.	189,849	131,205	1,033,471	26,869	143,405	37,709	567,906	66,627	322,160	22.27	3.09	12.24	6.94	60,722,494
臺北縣	Taipei County	17,848	36,252	475,633	19,019	67,588	13,915	341,519	3,318	66,526	50.92	7.24	36.56	7.12	6,557,113
宜蘭縣	Yilan County	5,167	1,980	8,228	－	－	304	4,664	1,676	3,564	7.13	－	4.04	3.09	3,003,220
桃園縣	Taoyuan County	19,412	31,737	113,191	2,131	8,789	9,796	82,741	19,810	21,661	24.08	1.87	17.60	4.61	4,357,698
新竹縣	Hsinchu County	2,503	4,237	37,443	－	－	2,563	19,115	1,674	18,328	31.35	－	16.01	15.35	－
苗栗縣	Miaoli County	4,788	1,276	7,639	－	－	－	3,132	1,276	4,507	5.46	－	2.24	3.22	－
臺中縣	Taichung County	17,150	7,065	55,921	－	3,053	2,996	20,153	4,069	32,715	14.59	0.80	5.26	8.53	1,060,898
彰化縣	Changhua County	6,271	2,856	11,571	－	－	134	5,091	2,722	6,480	3.52	－	1.55	1.97	－
南投縣	Nantou County	4,221	952	25,009	－	3,287	2	3,309	950	18,413	18.62	2.45	2.46	13.71	6,763,815
雲林縣	Yunlin County	5,807	536	21,796	－	－	1	3,082	535	18,714	11.89	－	1.68	10.21	－
嘉義縣	Chiayi County	6,261	1,151	13,063	1,149	3,546	2	3,340	－	6,177	9.38	2.55	2.40	4.44	385,075
臺南縣	Tainan County	21,565	1,798	18,599	－	－	12	7,882	1,786	10,717	6.73	－	2.85	3.88	191,317
高雄縣	Kaohsiung County	18,761	11,760	63,637	293	11,289	472	10,845	10,995	41,503	20.48	3.63	3.49	13.36	2,190,000
屏東縣	Pingtung County	7,871	1,766	19,254	－	－	－	5,145	1,766	14,109	8.57	－	2.29	6.28	－
臺東縣	Taitung County	3,830	701	4,086	－	－	－	246	701	3,840	6.84	－	0.41	6.43	－
花蓮縣	Hualien County	6,310	296	5,184	－	－	9	1,135	287	4,049	5.97	－	1.31	4.66	－
澎湖縣	Penghu County	757	766	4,250	－	－	460	460	306	3,790	18.38	－	1.99	16.39	－
基隆市	Keelung City	－	386	13,073	－	4,717	－	2,497	386	5,859	13.35	4.82	2.55	5.98	1,431,924
新竹市	Hsinchu City	5,600	5,132	22,396	－	－	1,602	11,342	3,530	11,054	22.93	－	11.61	11.32	－
臺中市	Taichung City	12,600	16,705	65,748	3,357	25,216	5,441	26,117	7,907	14,415	25.46	9.77	10.12	5.58	18,250,000
嘉義市	Chiayi City	5,562	1,040	10,007	－	－	－	2,729	1,040	7,278	14.73	－	4.02	10.71	－
臺南市	Tainan City	17,565	2,813	37,743	920	15,920	－	13,362	1,893	8,461	19.95	8.41	7.06	4.47	16,531,434
臺 北 市	Taipei City	12,505	47,585	534,978	44,936	498,683	1,251	26,885	1,398	9,410	81.79	76.24	4.11	1.44	344,086,834
高 雄 市	Kaohsiung City	17,010	38,366	221,835	18,455	151,760	5,431	23,210	14,480	46,865	58.74	40.18	6.15	12.41	294,171,460
福 建 省	Fuchien Prov.	2,903	994	4,946	994	4,884	－	62	－	－	24.54	24.24	0.31	－	1,962,482
金門縣	Kinmen County	2,850	994	3,794	994	3,794	－	－	－	－	21.60	21.60	－	－	1,928,843
連江縣	Lienchiang County	53	－	1,152	－	1,090	－	62	－	－	44.54	42.15	2.40	－	33,639
資料來源：本部營建署。
Source : Construction and Planning Agency, MOI.
說明：1.污水處理率係指總處理戶數占總戶數當量（按總人口數除以4估計）之比率，大於100％者以100％列示。
Note:1.Percentage of Population Served by Wastewater Treatment Plants which refers to the ratio of the total houses serviced to the total houses / equivalent, estimated by the total population divided by 4, the figures more than 100% are
listed 100%.

##  2004
09-12 污水下水道系統執行概況 The Conditions of Sanitary Sewer Systems

年底別及區域別 / End of Year & Locality		年底規劃面積 / (公頃) / End of Year Planned Area / (Hectares)	總計 / Grand Total		接管戶數(戶) Houses Connected				建築物污水處理設施設置戶(戶) / Houses of Building Sewage Processing Facilities (Houses)		污水處理率(%)(1) / Percentage of Population Served by Wastewater Treatment Plants				污水處理量 / Total Treated Domestic Wastewater per Year (CMY)
					公共污水下水道 / Public		專用污水下水道 / Specific				合計 / Total	公共污水下水道 / Public	專用污水下水道 / Specific	建築物污水處理設 / Building Sewage Processing Facilities
			當年 / New	累計 / Accumulated	當年 / New	累計 / Accumulated	當年 / New	累計 / Accumulated	當年 / New	累計 / Accmulated
九十三年 2004		206,602	226,006	1,577,080	94,379	707,478	63,923	573,672	67,704	295,930	27.80	12.47	10.11	5.22	653,842,302
臺 灣 省	Taiwan Prov.	174,185	150,296	902,266	36,455	116,536	59,600	530,197	54,241	255,533	19.53	2.52	11.48	5.53	62,583,662
臺北縣	Taipei County	17,848	60,770	439,381	20,109	48,569	35,428	327,604	5,233	63,208	47.40	5.24	35.34	6.82	5,283,557
宜蘭縣	Yilan County	5,167	1,275	6,248	－	－	59	4,360	1,216	1,888	5.41	－	3.77	1.63	6,961,636
桃園縣	Taoyuan County	5,963	15,522	81,454	497	6,658	13,174	72,945	1,851	1,851	17.58	1.44	15.75	0.40	3,548,528
新竹縣	Hsinchu County	2,503	11,057	33,206	－	－	2,029	16,552	9,028	16,654	28.43	－	14.17	14.26	－
苗栗縣	Miaoli County	4,788	－	6,363	－	－	－	3,132	－	3,231	4.54	－	2.23	2.31	－
臺中縣	Taichung County	17,150	5,024	48,856	－	3,053	1,347	17,157	3,677	28,646	12.80	0.80	4.49	7.50	1,472,636
彰化縣	Changhua County	6,271	3,758	8,715	－	－	－	4,957	3,758	3,758	2.65	－	1.51	1.14	－
南投縣	Nantou County	3,046	2,041	24,057	361	3,287	406	3,307	1,274	17,463	17.87	2.44	2.46	12.97	3,620,800
雲林縣	Yunlin County	5,807	2,019	21,260	－	－	3	3,081	2,016	18,179	11.54	－	1.67	9.87	－
嘉義縣	Chiayi County	6,261	695	11,912	685	2,397	10	3,338	－	6,177	8.54	1.72	2.39	4.43	419,750
臺南縣	Tainan County	20,772	1,824	16,801	－	－	8	7,870	1,816	8,931	6.08	－	2.85	3.23	－
高雄縣	Kaohsiung County	18,760	16,860	51,877	834	10,996	3,275	10,373	12,751	30,508	16.75	3.55	3.35	9.85	2,409,000
屏東縣	Pingtung County	7,871	1,519	17,488	－	－	1,519	5,145	－	12,343	7.77	－	2.29	5.48	－
臺東縣	Taitung County	3,584	517	3,385	－	－	－	246	517	3,139	5.63	－	0.41	5.22	－
花蓮縣	Hualien County	6,310	390	4,888	－	－	15	1,126	375	3,762	5.60	－	1.29	4.31	－
澎湖縣	Penghu County	757	365	3,484	－	－	－	－	365	3,484	15.18	－	－	15.18	3,208,350
基隆市	Keelung City	－	64	12,687	－	4,717	－	2,497	64	5,473	12.93	4.81	2.55	5.58	2,110,065
新竹市	Hsinchu City	5,600	1,272	17,264	－	－	3	9,740	1,269	7,524	17.85	－	10.07	7.78	－
臺中市	Taichung City	12,600	20,351	49,043	11,969	21,859	1,874	20,676	6,508	6,508	19.21	8.56	8.10	2.55	18,250,000
嘉義市	Chiayi City	5,562	939	8,967	－	－	－	2,729	939	6,238	13.27	－	4.04	9.23	－
臺南市	Tainan City	17,565	4,034	34,930	2,000	15,000	450	13,362	1,584	6,568	18.51	7.95	7.08	3.48	15,299,340
臺 北 市	Taipei City	12,505	39,930	487,393	37,991	453,747	1,081	25,634	858	8,012	74.34	69.21	3.91	1.22	313,907,193
高 雄 市	Kaohsiung City	17,010	35,260	183,469	19,413	133,305	3,242	17,779	12,605	32,385	48.52	35.25	4.70	8.56	275,894,308
福 建 省	Fuchien Prov.	2,902	520	3,952	520	3,890	－	62	－	－	21.42	21.08	0.34	－	1,457,139
金門縣	Kinmen County	2,850	520	2,800	520	2,800	－	－	－	－	17.38	17.38	－	－	1,423,500
連江縣	Lienchiang County	52	－	1,152	－	1,090	－	62	－	－	49.24	46.59	2.65	－	33,639
資料來源：本部營建署。
Source : Construction and Planning Agency, MOI.
說明：1.污水處理率係指總處理戶數占總戶數當量（按總人口數除以4估計）之比率，大於100％者以100％列示。
Note:1.Percentage of Population Served by Wastewater Treatment Plants which refers to the ratio of the total houses serviced to the total houses / equivalent, estimated by the total population divided by 4, the figures more than 100% are
listed 100%.